INDOOR ENVIRONMENTAL MONITORING DEVICES (IEQM-D)

Appendix 2 Additional products and devices related to equipment usability

Purpose

- To facilitate, expand and maintain the usability of the IEQM-D equipment to be procured, with the additional products specified herein.

# Types and properties of additional products

- Option for procuring more of the devices listed in this call for tenders (Appendix 1) during the next two (2) years. Itemised price tender for any additional products.

- Technical specifications and itemised price tender for any other peripherals or additional devices, for instance involving capacity for simultaneously measuring other parameters than those specified in Appendix 1.

- Extended warranty period of three (3) years from the time of procurement.

- Annual maintenance agreement for devices. The tender must specify the total duration and cost of such an agreement and a detailed explanation of what it covers.

- Technical specifications and itemised price tender for the software required and any license fees involved during the first three (3) years after procurement, and thereafter.

# User support

- Maintenance and repairs for additional products, and availability of spare parts in Finland, must be guaranteed even in the event of the device manufacturer changing.

- User instructions and induction must be included in the price of any additional products or peripherals.

- The terms of warranty must be given.

# Terms of delivery

- The same terms of delivery shall apply to additional products as to the tender itself.

# Contact person

Mari Turunen

Researcher

Phone: +358 20 610 6378

E-mail: mari.turunen@thl.fi